ELECTRICAL CONTRACTOR WANTED

BID SPECIFICATIONS FOR LIGHTING UPGRADE IN NAUBINWAY FIRE STATION

- Contractor to install 8 new light fixtures. (4 panel fixtures in existing ceiling grid and 4 hanging fixtures).

- Contractor to be licensed and insured.  Must provide copy of insurance and W-9.

- Contractor to supply all labor to complete the project. This includes removing existing fixtures. (10 fluorescent fixtures)

- Contractor to dispose of all existing fixtures and materials.

Garfield Township will purchase all materials needed to complete the project from D & D Hardware.  Contractor is to pick-up all materials to complete the project.

Submit Bid To:  Garfield Township

Lighting Upgrade Bid

P.O. Box 148

Engadine, Michigan    49827

Deadline to submit bid is October 16, 2025 at 3:00 pm.

Bids will be opened at the Regular Township Board Meeting on October 20, 2025.

For further information contact Don. Butkovich, Supervisor 906-477-6481 Ext. 3

Garfield Township Office Hours are Mon.-Thurs.  9:30am-4:30 pm.

Garfield Township Board has the right to accept or reject any or all bids.